## Components
Concentration (mg/mL) | Observed response | Fitted response | operations | operationVersion | pipettingCheck | context | task | mode | method | resultStatus | warnings | assumptions | inputs | outputs | displayUnits | structuredWarnings
0 | 0.05 | 0.05181034482758604 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | bradford-bca | default | protein-linear-v2 | estimate |  | 仅在已验证线性量程内使用 / Use only within the validated linear range | {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2} | [{"key":"slope","label":"Slope","labelZh":"斜率","value":0.5141379310344829},{"key":"intercept","label":"Intercept","labelZh":"截距","value":0.05181034482758604},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.9999212866174656},{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":1.5100603621730384,"unit":"mg/mL"}] | {} | []
0.25 | 0.18 | 0.18034482758620676 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | bradford-bca | default | protein-linear-v2 | estimate |  | 仅在已验证线性量程内使用 / Use only within the validated linear range | {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2} | [{"key":"slope","label":"Slope","labelZh":"斜率","value":0.5141379310344829},{"key":"intercept","label":"Intercept","labelZh":"截距","value":0.05181034482758604},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.9999212866174656},{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":1.5100603621730384,"unit":"mg/mL"}] | {} | []
0.5 | 0.31 | 0.3088793103448275 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | bradford-bca | default | protein-linear-v2 | estimate |  | 仅在已验证线性量程内使用 / Use only within the validated linear range | {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2} | [{"key":"slope","label":"Slope","labelZh":"斜率","value":0.5141379310344829},{"key":"intercept","label":"Intercept","labelZh":"截距","value":0.05181034482758604},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.9999212866174656},{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":1.5100603621730384,"unit":"mg/mL"}] | {} | []
1 | 0.57 | 0.565948275862069 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | bradford-bca | default | protein-linear-v2 | estimate |  | 仅在已验证线性量程内使用 / Use only within the validated linear range | {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2} | [{"key":"slope","label":"Slope","labelZh":"斜率","value":0.5141379310344829},{"key":"intercept","label":"Intercept","labelZh":"截距","value":0.05181034482758604},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.9999212866174656},{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":1.5100603621730384,"unit":"mg/mL"}] | {} | []
1.5 | 0.82 | 0.8230172413793104 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | bradford-bca | default | protein-linear-v2 | estimate |  | 仅在已验证线性量程内使用 / Use only within the validated linear range | {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2} | [{"key":"slope","label":"Slope","labelZh":"斜率","value":0.5141379310344829},{"key":"intercept","label":"Intercept","labelZh":"截距","value":0.05181034482758604},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.9999212866174656},{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":1.5100603621730384,"unit":"mg/mL"}] | {} | []

## Notes
bradford-bca · default
Slope: 0.514137931
Intercept: 0.0518103448
R²: 0.999921287
Sample concentration: 1.51006036 mg/mL
Concentration (mg/mL) Observed response Fitted response
0 0.05 0.0518103448
0.25 0.18 0.180344828
0.5 0.31 0.30887931
1 0.57 0.565948276
1.5 0.82 0.823017241
Operations (liquid-operations-v2): []
Pipetting check: {"status":"not-applicable"}
Warnings
Assumptions
仅在已验证线性量程内使用 / Use only within the validated linear range
Status: estimate; Method: protein-linear-v2
Inputs: {"concentrationUnit":"mg/mL","standards":"0,0.05\n0.25,0.18\n0.5,0.31\n1,0.57\n1.5,0.82","sampleAbsorbance":0.44,"dilutionFactor":2}
Context: {}