## Components
Concentration (pg/mL) | Observed response | Fitted response | operations | operationVersion | pipettingCheck | context | task | mode | method | resultStatus | warnings | assumptions | inputs | outputs | displayUnits | structuredWarnings
0.1 | 0.08 | 0.07507831115241681 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | elisa-4pl | default | elisa-four-pl-v2 | estimate |  | 检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence | {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1} | [{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":10.06935015474183,"unit":"pg/mL"},{"key":"ec50","label":"Curve midpoint","labelZh":"曲线中点","value":10.282348613464187,"unit":"pg/mL"},{"key":"hillSlope","label":"Hill slope","labelZh":"Hill斜率","value":1.0697542630003536},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.999952614004475},{"key":"bottom","label":"Bottom","labelZh":"下平台","value":0.06181297687850223},{"key":"top","label":"Top","labelZh":"上平台","value":1.9594325092768587},{"key":"converged","label":"Converged","labelZh":"数值收敛","value":"Yes / 是"}] | {} | []
1 | 0.2 | 0.2066987903077817 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | elisa-4pl | default | elisa-four-pl-v2 | estimate |  | 检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence | {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1} | [{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":10.06935015474183,"unit":"pg/mL"},{"key":"ec50","label":"Curve midpoint","labelZh":"曲线中点","value":10.282348613464187,"unit":"pg/mL"},{"key":"hillSlope","label":"Hill slope","labelZh":"Hill斜率","value":1.0697542630003536},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.999952614004475},{"key":"bottom","label":"Bottom","labelZh":"下平台","value":0.06181297687850223},{"key":"top","label":"Top","labelZh":"上平台","value":1.9594325092768587},{"key":"converged","label":"Converged","labelZh":"数值收敛","value":"Yes / 是"}] | {} | []
10 | 1 | 0.9964932514001504 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | elisa-4pl | default | elisa-four-pl-v2 | estimate |  | 检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence | {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1} | [{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":10.06935015474183,"unit":"pg/mL"},{"key":"ec50","label":"Curve midpoint","labelZh":"曲线中点","value":10.282348613464187,"unit":"pg/mL"},{"key":"hillSlope","label":"Hill slope","labelZh":"Hill斜率","value":1.0697542630003536},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.999952614004475},{"key":"bottom","label":"Bottom","labelZh":"下平台","value":0.06181297687850223},{"key":"top","label":"Top","labelZh":"上平台","value":1.9594325092768587},{"key":"converged","label":"Converged","labelZh":"数值收敛","value":"Yes / 是"}] | {} | []
100 | 1.8 | 1.8063706826925172 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | elisa-4pl | default | elisa-four-pl-v2 | estimate |  | 检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence | {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1} | [{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":10.06935015474183,"unit":"pg/mL"},{"key":"ec50","label":"Curve midpoint","labelZh":"曲线中点","value":10.282348613464187,"unit":"pg/mL"},{"key":"hillSlope","label":"Hill slope","labelZh":"Hill斜率","value":1.0697542630003536},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.999952614004475},{"key":"bottom","label":"Bottom","labelZh":"下平台","value":0.06181297687850223},{"key":"top","label":"Top","labelZh":"上平台","value":1.9594325092768587},{"key":"converged","label":"Converged","labelZh":"数值收敛","value":"Yes / 是"}] | {} | []
1000.0000000000001 | 1.95 | 1.945358963913613 | [] | liquid-operations-v2 | {"status":"not-applicable"} | {} | elisa-4pl | default | elisa-four-pl-v2 | estimate |  | 检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence | {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1} | [{"key":"sampleConcentration","label":"Sample concentration","labelZh":"样品浓度","value":10.06935015474183,"unit":"pg/mL"},{"key":"ec50","label":"Curve midpoint","labelZh":"曲线中点","value":10.282348613464187,"unit":"pg/mL"},{"key":"hillSlope","label":"Hill slope","labelZh":"Hill斜率","value":1.0697542630003536},{"key":"rSquared","label":"R²","labelZh":"R²","value":0.999952614004475},{"key":"bottom","label":"Bottom","labelZh":"下平台","value":0.06181297687850223},{"key":"top","label":"Top","labelZh":"上平台","value":1.9594325092768587},{"key":"converged","label":"Converged","labelZh":"数值收敛","value":"Yes / 是"}] | {} | []

## Notes
elisa-4pl · default
Sample concentration: 10.0693502 pg/mL
Curve midpoint: 10.2823486 pg/mL
Hill slope: 1.06975426
R²: 0.999952614
Bottom: 0.0618129769
Top: 1.95943251
Converged: Yes / 是
Concentration (pg/mL) Observed response Fitted response
0.1 0.08 0.0750783112
1 0.2 0.20669879
10 1 0.996493251
100 1.8 1.80637068
1000 1.95 1.94535896
Operations (liquid-operations-v2): []
Pipetting check: {"status":"not-applicable"}
Warnings
Assumptions
检查标准曲线覆盖范围、平台与收敛 / Inspect range, plateaus and convergence
Status: estimate; Method: elisa-four-pl-v2
Inputs: {"concentrationUnit":"pg/mL","standards":"0.1,0.08\n1,0.2\n10,1.0\n100,1.8\n1000,1.95","sampleSignal":1,"dilutionFactor":1}
Context: {}